- Please retain this form within the department/section when completed.

- This assessment must be carried out by the relevant Department/Section Head (or their nominee).

- This checklist will help identify hazards and enable subsequent Risk Assessments to be completed where hazards cannot be eliminated. [See Section 19.1 - 19.5].

- See also SECTION 18.2.0 FIRE & other Emergencies in Document 2 for requirements

Room/Location: ______________________ Employee Involved: ________________________________ Assessed By: _____________________________________________________ Date: _________________

| 1.0 | TRAINING AND INFORMATION | YES | NO | N/A | RECOMMENDATIONS/ACTIONS |
| --- | --- | --- | --- | --- | --- |
| 1.1 | Are all staff and students familiar with what to do in an emergency e.g. Fire, explosion, gas leak, lift failure etc.? |  |  |  |  |
| 1.2 | Have all staff been trained in basic fire safety:- housekeeping use of flammable liquids, gases or solids electrical appliances fire extinguisher selection and use what to do on hearing fire alarm what to do on discovering fire what to do if ones clothing is on fire |  |  |  |  |
| 1.3 | Do they know where the fire alarm is, and how to use it? |  |  |  |  |
| 1.4 | Are there trained Fire Marshalls/First Aid Responders and trained Chemical Spill Responders ( where relevant) in the Department, with nominated deputies or is there pre-agreed cover from adjacent areas? |  |  |  |  |

| 2.0 | EMERGENCY PROCEDURES | YES | NO | N/A | RECOMMENDATIONS/ACTIONS |
| --- | --- | --- | --- | --- | --- |
| 2.1 | Is there an appropriate department emergency plan in operation and does this include for major events organised by the School/Department? |  |  |  |  |
| 2.2 | Does it cover the following: Fire drills and training Safe evacuating procedures to assembly or refuge points including Personal Emergency Evacuation Plans for impaired persons and evacuation triage and sheltering in place where relevant and non-use of lifts Designated assembly points and control of personnel until the all clear is given by Security/the Fire Brigade Emergency numbers and whom to contact Premises Eircodes Emergency lighting Clearly sign posted exit routes, fire fighting equipment and first aid equipment and chemical spill response equipment ( where relevant) Response outside normal working hours Provisions for persons with impaired vision, hearing or mobility Ensuring that equipment, machines are shut off to leave workplace safe Chemical spills Warning personnel in adjacent areas of potential hazards to their safety Hazard and risk information for the fire services including chemical inventories and key risks . |  |  |  |  |
| 2.3 | Is the Emergency Plan tested regularly Yearly? |  |  |  |  |
| 2.4 | During the emergency test, are shortcomings: Recorded by the Department? Reviewed and corrected? |  |  |  |  |
| 3.0 | GENERAL | YES | NO | N/A | RECOMMENDATIONS/ACTIONS |
| 3.1 | Are the "No-Smoking" Regulations strictly enforced? |  |  |  |  |
| 3.2 | Are fire doors kept closed outside normal working hours? |  |  |  |  |
| 3.3 | Is portable fire fighting equipment, firest aid kits and chemical spill response kits available and maintained? |  |  |  |  |
| 3.4 | Are escape routes, corridors etc. kept clear at all times of storage, furnishings, combustible materials, rubbish, recycling materials, bicycles, motorized apparatus and sources of ignition including electrical equipment ? |  |  |  |  |
| 3.5 | Are escape routes of adequate width and number? |  |  |  |  |
| 3.6 | Are combustible or other wastes removed daily? |  |  |  |  |
| 3.7 | Are there routine checks carried out on: Fire alarm systems? Emergency lighting and exits? Fire fighting equipment? Emergency equipment? Safety signs? First Aid boxes? |  |  |  |  |
| 3.8 | Are these recorded and reviewed by the Department? |  |  |  |  |
| 3.9 | Are Fire notices posted in prominent positions throughout the Department? |  |  |  |  |
| 3.10 | Are there sufficient smoke/heat fire detection units audible alarm bells and measures for the hearing impaired? |  |  |  |  |
| 3.11 | Are there sufficient fire alarm break glass units? |  |  |  |  |
| 3.12 | Is fire-fighting equipment clearly sign posted? |  |  |  |  |
| 3.13 | Can the emergency exit doors be easily and quickly opened? |  |  |  |  |
| 3.14 | Is a fire blanket available and accessible in kitchens/canteens? |  |  |  |  |
| 3.15 | Is the external fire assembly point signposted and visible? |  |  |  |  |
| 3.16 | Are all doors on escape routes easily openable from the inside without the use of a key and in the case of electromagnetic locks openable on mechanical activation of a door lock lever arm or push bar device? |  |  |  |  |
| 3.17 | Are metal bins with self closing lids used for rubbish collection within corridors, laboratories, work shops, lecture theatres and large rooms? |  |  |  |  |

| 4.0 | LABORATORIES / workshops (in addition to above) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 4.1 | Is there a central location for storage of emergency equipment viz. Self contained breathing apparatus? Salvage gear, tools, lamps, chemical spill response equipment? blankets for covering injured persons Stretchers? First aid for unusual situations e.g. cyanide exposure, hydrofluoric acid? |  |  |  |  |
| 4.2 | Is PPE available for emergencies (goggles, facemasks, aprons, respirators, explosion shields, etc.)? |  |  |  |  |
| 4.3 | Is there an emergency phone in the lift and can this communicate with UCC security |  |  |  |  |
| 4.4 | Does the chemical spill procedures include: Containment controls? Clean-up measures? Reporting provisions? Prevention methods i.e. personnel training, inspection, monitoring, storage. |  |  |  |  |
| 4.5 | Is all hazardous laboratory work stopped during severe weather or loss of utility services e.g. water, electricity, gas supplies etc.? |  |  |  |  |
| 4.6 | Are the fire extinguishers appropriate to the various risks within the laboratory/workshop? |  |  |  |  |
| 4.7 | Is an appropriate chemical spill kit provided in the laboratory or nearby? |  |  |  |  |
| 4.8 | Is there a gas detection system with slam shut devices to the supply fitted for all gas supplies to the room/area? |  |  |  |  |
| 4.9 | Is there a gas proving system fitted to the natural gas supply where provided? |  |  |  |  |
| 4.10 | Is hydrogen generation technology used instead of piped gas cylinder supply? |  |  |  |  |
| 4.11 | Are all compressed gas cylinders located external to the building and the supply piped in to the point of use incorporating 4.9 |  |  |  |  |
| 4.12 | Is an easily accessible emergency power off switch provided and located conveniently to shut down the electrical supply in an emergency? |  |  |  |  |
| 4.13 4.14 | Are flammable liquids stored in bunded fire rated cabinets within the room? Do first aid responders have a personal issue emergency response kit for Covid19 and is there one located adjacent to the first aid box/boxes with spares available ( for replacement after use) |  |  |  |  |

- Please retain this form within the department/section when completed.

- This assessment must be carried out by the relevant Department/Section Head (or their nominee).

- This checklist will help identify hazards and enable subsequent Risk Assessments to be completed where hazards cannot be eliminated. [See Section  19.1 - 19.5].

- See also SECTION 18.2.0 FIRE & other Emergencies in Document 2 for requirements