Compliance Self-Assessment Form for Class 1 GMMs

| Date |  |
| --- | --- |
| User: |  |
| Department: |  |
| GMO Register Entry No |  |
| Class of activity | Class 1 GMMs |
| # GENERAL |  |
| No of Laboratories occupied by facility room numbers (if applicable and function) |  |
| No of people working in facility |  |
| Qualifications & Background |  |
| Are there any changes to GMO Register entry as it currently stands? |  |
| # CONTAINMENT |  |
| containment measures employed |  |
| How is access to the GMM facility restricted? - During the day - After hours |  |
| Are there biohazard signs in place? - Entrance to laboratory - Fridges / freezers - Microbiological safety cabinets (MSC) |  |
| What SOPs do you have in place? |  |
| - Have all persons working in facility read the SOPs (part of training) - Location of SOPs - Location of risk assessment |  |
| Who is responsible for training? Are training records maintained? |  |
| Class of MSC (if applicable) Date of last validation? Is the date of last validation posted on the MSC? |  |
| What protective measures are staff required to take? - Coats - Glasses - Gloves - Other |  |
| Are handwashing facilities provided?- - Handwashing sink - Soap - Paper towels - Lever taps |  |
| Is the write up area segregated from the main lab area? If not what precautions are taken? |  |
| General observations regarding lab - Cleanliness - Tidiness - Staff wearing lab coats - Gloves - Benches easy to clean |  |
| # GMM STORAGE |  |
| Where is GMM stored - In the lab? - elsewhere in facility? - is the storage facility shared with anyone else? - Is a storage inventory maintained? - Is an inventory of use maintained? |  |
| # WASTE INACTIVATION |  |
| Location of autoclave relative to laboratory |  |
| Date of last validation |  |
| Decontamination time/temp/pressure |  |
| What type of biological indicator is used and at what intervals? |  |
| Is a record of autoclave runs maintained? |  |
| What is the procedure for the decontamination of - Solid waste? - Liquid waste? - Sharps? |  |
| In the event that waste is treated by an external contractor, what is the name of the contractor and what is the waste treatment procedure? |  |
| What is the procedure for the treatment of spillages? |  |
| Decontaminating agents used? |  |
| What is procedure for the reporting of accidents/incidents? |  |
| Has there been any accidents/incidents during the past 12 months? |  |
| Are GMMs/GMOs used for teaching purposes? |  |

Signed by the Principal Investigator: _____________________________

Date:		_____________________________