STANDARD OPERATING PROCEDURE - #UCC007

Title: Transport of Genetically Modified Micro-Organisms (GMMs) in a Class 1 or Class 2 Laboratory in UCC

Effective Date:

Approvals (Signature and Date):

Author (Signature)	Technical Authority (Signature) Date:

1.0	PURPOSE

  - This SOP outlines the safe transport of Class 1 and Class 2 GMMs in the laboratory, department or UCC building.

2.0	SCOPE

2.1	This SOP applies to all labs in UCC where GMM/GMO (class 1 & 2) work takes place.

3.0	RESPONSIBILITY

3.1	It is the responsibility of those working with GMMs & GMOs to be aware of precautions when working with such material. It is the responsibility of each individual to transport GMM material in a safe manner, minimizing exposure of the GMM to yourself, workplace and environment.

4.0	MATERIALS AND EQUIPMENT

4.1		suitable containers (robust & leak proof, non-breakable)

- HEALTH AND SAFETY CONSIDERATIONS

5.1	The H&S considerations when dealing with GMM/GMOs are critical to researcher and environment alike. Please transport your GMM material in a safe manner.

6.0	PROCEDURE

6.1	The design of GMM transport containers must be checked to ensure it is labeled, closed, durable and non-breakable.

6.2	Gentle movement of the container is important to minimize the accidental spread of material.

6.3	Always wash your hands after handling GMMs, even though gloves are worn.

6.4	Packaging and transportation of biological agents outside the University must follow National/International regulations.