| CLASSES |
| --- |
| UN CLASS DESCRIPTION | CLASS | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
|  |  | 1 | 2.1 | 2.2 | 2.3 | 3 | 4.1 | 4.2 | 4.3 | 5.1 | 5.2 | 6 | 7 | 8 |
| 1. EXPLOSIVES | 1 | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( |
| 2.1 Flammable, Compressed Gases | 2 | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( |
| 2.2 Non Flammable/ Non-toxic Gases |  | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( |
| 2.3 TOXIC Gases |  | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( |
| 3. FLAMMABLE LIQUIDS | 3 | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( |
| 4.1 Readily Combustible Solids | 4 | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( |
| 4.2 Spontaneously Combustible |  | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( |
| 4.3 Dangerous When Wet |  | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( |
| 5. 1 OXIDISING Substances | 5 | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( |
| 5.2 ORGANIC PEROXIDES |  | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( |
| 6. TOXIC Substances | 6 | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( |
| 7. RADIOACTIVE Substances | 7 | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( |
| 8. CORROSIVE Substances | 8 | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( | ( |

Legend:

( = Generally OK to store together and may not be necessary to separate. Consult SDS as some chemicals in the same class particularly Class 8 Corrosives may react violently e.g. Nitric & Acetic acids

( = ISOLATE. Mainly used for organic peroxides, for which dedicated fire- resistant secure cabinets outside the building.

( = SEGREGATE FROM. These combinations should not be kept in the same building compartment or outdoor storage compound.

( = KEEP APART. Separate packages by at least 3 metres or one gangway width, whichever is the greater in the storeroom or storage area outdoors

( = This lower standard refers to the outside storage of gas cylinders. Where non-liquefied flammable gases are concerned, the three metre separation distance may be reduced to 1 metre.