British Compressed Gases Association (BCGA) publications

Ref. 		Guidance Notes

GNl 	Guidance Notes on the Preparation of Major Emergency Procedures: 1977 (reprinted 1997)

GN2	Safe Practice for the Storage of Gases in Transportable Cylinders Intended for Industrial Use: Revision 2 1997

GN3 	Application of the Manual Handling Operations Regulations to Gas Cylinders

GN4 	The Safe Use of CO2 and CO2/N2 Cylinders in the Beverage Dispense Industry

GNS 	The Safe Application of Oxygen Enriched Atmospheres when Packaging Food: 1998

GN6 		Cylinder Internal Corrosion

GN7 	The Safe Use of Individual Portable or Mobile Cylinder Gas Supply Equipment: 2000

GN8 		Catalogue of BCGA Members' Cylinder Test Marks Revision 2:1998

GN9 	The Application of the Confined Spaces Regulations to the Drinks Dispense Industry: 2000

Technical Reports

TRl 	A Method for Estimating the Offsite Risks from Bulk Storage of Liquefied Oxygen Rl (LOX): 1984.

TR2 	The Probability of Fatality in Oxygen Enriched Atmospheres due to Spillage of Liquid Oxygen R2 (LOX)

TR3 	Replacement Substances for the Cleaning of Oxygen System Components

Codes of Practice

CP3 	Guidance for the Safe Disposal of Transportable Gas Containers at Waste Disposal Centres, Scrap Metal Merchants and Similar Organisations. Revision 3: 1993

CP4 	Industrial Gas Cylinder Manifolds & Distribution Pipework/ Pipelines (excluding Acetylene). Revision 2: 1998

CP5 	The Design & Construction of Manifolds using Acetylene Gas from 1.5 bar to a Maximum Working Pressure of 25 bar (362 Ibf/in2): Revision 1: 1998

CP6 	The Safe Distribution of Acetylene in the Pressure Range 0-1.5 bar (0-22 Ibf/in2): Revision 1: 1998

CP7 	The Safe Use of Oxy-Fuel Gas Equipment (Individual Portable or Mobile Cylinder Supply). Revision 2: 1996 I

CP8 	The Safe Storage of Gaseous Hydrogen in Seamless Cylinders & I Similar Containers: 1986

CPll 	Procedures Required to be in Use in Test Stations that Undertake the Periodic Inspection, Testing & Maintenance of Transportable Gas Containers. Revision 3: 1994 CP12 The Safe Use of Non-Refillable Gas Containers (Cylinders): 1984

CP15 	The Safe Re-rating of Existing BS 5045:

Part 1: 1982 Containers to Amendment AMD 5145: 1986

PART 1: Permanent Gas Containers. Revision 1: 1996

CP15 	The Safe Re-rating of Existing BS 5045:

Part 1: Containers to Amendment AMD 5145: 1986

Part 2: Containers for Hydrogen Trailer Service. Revision 1; 1996 39

CP16 	Movement of Static Storage Tanks for Non-Flammable, Non-Toxic Gases by Road: 1998

CP17 	The Repair of Hand-held Blowpipes & Gas Regulators used with Compressed Gases for Welding, Cutting & Related Processes: Revision 1: 1998

CP18 	The Safe Storage, Handling & Use of Special Gases in the Micro- Electronics Industry. Revision 1: 1995. (Published jointly with the Federation of the Electronics Industry (FEI)

CP19 	Bulk Liquid Oxygen Storage at Users' Premises. Revision 2: 1996

Codes of Practice (Cont.)

CP20 	Bulk Liquid Oxygen Storage at Production Sites. Revision 1: 1996

CP21 	Bulk Liquid Argon or Nitrogen Storage at Users' Premises: Revision 1: 1998

CP22 	Bulk Liquid Argon or Nitrogen Storage at Production Sites: 1996

CP23 	Application of the Pressure Systems and Transportable Gas Containers Regulations 1989 to Industrial and Medical Pressure Systems Installed at Consumer Premises: 1992

CP24 	Application of the Pressure Systems and Transportable Gas Containers Regulations 1989 to Operational Process Plant: 1992

CP25 	Revalidation of Bulk Liquid Oxygen, Nitrogen, Argon and Hydrogen Cryogenic Storage Tanks: Revision 1: 1998

CP26 	Bulk Liquid Carbon Dioxide Storage at Users' Premises: Revision 1 1999

CP27 	Transportable Vacuum Insulated Containers of not more than 1000 litres volume: 1994 J

CP28 	Vacuum Insulated Tanks of not more than 1,000 litres volume which are Static Installations at Users Premises: 1997

CP30 	The Safe Use of Liquid Nitrogen Dewars up to 50 litres: 2000

CP31 	Safe Storage and Use of Cylinders in Mobile Workshops and Service Vehicles: 1997

Free Leaflet 	Carriage of Gas Cylinders by Road in Cars and Vans –Guidance for Drivers at Work: 1996

Free Leaflet 	The Safe Disposal of Transportable Gas Containers at Waste Disposal Centres, Scrap Metal Merchants and Similar Organisations: 1996

## Technical Information Sheet

TIS 3 	1993: Dimensions for three-seat cutting nozzles

TIS 4 	BS EN ISO 14114 Acetylene Manifold Systems for Welding, Cutting and Allied Processes: General Requirements

On sale at:

British Compressed Gases Association

14 Tollgate

Eastleigh

Hampshire

SO53 3TG

Tel: 023 8064 1488

Fax: 0238064 1477

Catalogue and placing of orders also on Website:

www.bcga.co.uk

## IGC PUBLICATIONS I

#### References 	Codes of practice

Doc 4/00 		Fire hazards of oxygen and oxygen enriched atmospheres

Doc 6/77 		Oxygen/fuel gas cutting machine safety

Doc 9/78 		Code of practice for acetylene pipelines based upon working ranges

Doc 14/80 	Code of practice for safety in gas systems for shielded arc and plasma processes

Doc 15/96 	Gaseous hydrogen stations

Doc 20/83 	Distribution of oxygen, acetylene, and methylacetylene mixtures at users' works

Doc 30/97 	Disposal of gases -Code of practice

Doc 33/97 	Cleaning of equipment for oxygen service. Guidelines

Doc 37/89 	Safety at customers (Symposium)

Doc 42/89 	Prevention of hose failures in high pressure gas systems

Doc 44/00 	Hazards of inert gases

Doc 45/91 	Safety in transport: people and products (Symposium)

Doc 50/94 	Safety is good business. Managing and planning for safety progress. Systems and techniques (Symposium)

Doc 51/94 	Code of practice: plant and equipment release procedure

Doc 52/94 	A guideline for EIGA members and third party companies who regularly transport gas cylinders. Load securing

Doc 53/94 	Training material: safe handling of gas cylinders and pallets

Doc 54/95 	Road vehicle safety programme

Doc 58/98 	Safety and the human factor (Symposium)

Doc 61/98 	Safe use of cylinders in marine service

Doc 67/99 	CO2 cylinders at users premises

Doc 68/99 	Prevention of CO2 feedback contamination

Doc 69/99 	Transport emergency instructions

Doc 70/99 	Carbon dioxide source certification, quality standards and verification

Doc 71/00 	Safety in the Supply Chain (12th Symposium)

On sale at:

Publications du Soudage et de ses Applications

IParis Nord II

BP 50362

F-95942 Roissy CDG Cedex !

France!

Contact: Mme. HWeber

Tel: 00 33 I 49 90 36 00

Fax: 00 33 I 49 90 36 50

Catalogue and placing of orders also on Website: www.eiga.org

#### LIST OF RELEVANT BRITISH/EUROPEAN STANDARDS AND LEGISLATION

#### British Standards

BS 499-1:1991 		Welding, brazing and thermal cutting glossary

BS 1453:1972 		Specification for filler materials for gas welding

BS 1723-1:1986 		Specification for brazing

BS 1723-2:1986 		Guide to brazing

BS 1724:1990 		Specification for bronze welding by gas

BS 1821:1982 	Specification for Class I Oxy-acetylene welding of ferretic steel pipe work for carrying fluids

BS 2640:1982 	Specification for Class II Oxy-acetylene welding of carbon steel pipe work for carrying fluids

BS 4163:2000 	Health and safety for design and technology in schools and similar establishments. Code of practice

BS 5173-103.6:1990 	Methods of test for rubber and plastics hoses and hose assemblies. Physical tests. Determination of ignitability of lining

BS 6942-2: 1989 	Design and construction of small kits for Oxy-fuel gas welding and allied processes. Specification for kits using refillable gas containers for oxygen and fuel gas

PD 6633:1998, CR 	Gas welding equipment. Industrial manual and machine oxygen-fuel gases 13259:1998 blowpipes for flame heating and allied processes

#### BS EN ISO Standards

BS EN ISO 2503:1998 Gas welding equipment. Pressure regulators for gas cylinders used in welding, cutting and allied processes up to 300 bar

BS EN ISO 5172:1997 Manual blowpipes for welding, cutting and heating. Specifications and tests

BSEN ISO 9013:1995 Welding and allied processes. Quality classification and dimensional tolerances of thermally cut (oxygen-fuel gas flame) surfaces

BS EN ISO 10882-2 	Health and safety in welding and allied processes. Sampling of 2000 airborne particles and gases in the operator's breathing zone. Sampling of gases

BS EN ISO 14113:1997 Gas welding equipment. Rubber and plastic hoses assembled for compressed or liquefied gases up to a maximum design pressure of 450 bar

BS EN ISO 14114:1999 Gas welding equipment. Acetylene manifold systems for welding, cutting and allied processes. General requirements

#### BS EN Standards

BS EN 559:1994 	Gas welding equipment. Rubber hoses for welding, cutting and allied processes

BS EN 560:1995 	Gas welding equipment. Hose connections for welding, cutting and allied processes

BS EN 561:1995 	Gas welding equipment. Quick-action couplings with shut-off valves for welding, cutting and allied processes

BS EN 562:1995 	Gas welding equipment. Pressure gauges used in welding, cutting and allied processes

BS EN 730:1995 	Gas welding equipment. Equipment used in gas welding, cutting and allied processes, safety devices for fuel gases and oxygen or compressed air. General specifications, requirements and tests

BS EN 731:1996 	Gas welding equipment. Air-aspirated hand blowpipes. Specifications and tests

#### BS EN Standards (Cont,)

BS EN 874:1995 	Gas welding equipment. Oxygen/fuel gas blowpipes (cutting machine type) of cylindrical barrel. Type of construction, general specifications, test methods

BS EN 961:1996 	Gas welding equipment. Manifold regulators used in welding, cutting and allied processes up to 200 bar

BS EN 1256:1996 	Gas welding equipment. Specification for hose assemblies for equipment for welding, cutting and allied processes

BS EN 1326:1996 	Gas welding equipment. Small kits for gas brazing and welding

BS EN 1327:1996 	Gas welding equipment. Thermoplastic hoses for welding and allied processes

BS EN 1668:1997 	Welding consumables. Rods, wires and deposits for tungsten inert gas welding of non-alloy and fine grain steels. Classification

BS EN 1708-1:1999 	Welding. Basic weld joint details in steel. Pressurised components

BS EN 12535:2000 	Welding consumables. Tubular cored electrodes for gas shielded metal arc welding of high strength steels. Classification

BS EN 12536:2000 	Welding consumables. Rods for gas welding of non alloy and creep-resisting steels. Classification

BS EN 26848:1991 	Specification for tungsten electrodes for inert gas shielded arc welding and for plasma cutting and welding

BS EN 29090:1992 	Specification for gas tightness of equipment for gas welding and allied processes

BS EN 29539:1992 	Specification for materials for equipment used in gas welding, cutting and allied processes

BS EN 29692:1994 	Specification for metal-arc welding with covered electrode, gas-shielded metal-arc welding and gas welding. Joint preparations for steel

#### British Standards Institution

Customer Services

British Standards House

389 Chiswick High Road

London

W4 4AL

Tel. 0181 996 7000

Fax. 0181 9967001

Email: info@bsi-global.com

Website: www.bsi-global.com

#### Source: BOC Safe Under Pressure Booklet