- Please retain this form within the department/section when completed.

- This assessment must be carried out by the relevant Department/Section Head (or their nominee).

- This checklist will help identify hazards and enable subsequent Risk Assessments to be completed where hazards cannot be eliminated. [See Section  19.1 - 19.5].

Room/Location: ______________________ No. of Employees Involved: _______________________ Assessed By: _____________________________________________________ Date: _________________

| 1.0 | GENERAL | YES | NO | N/A | RECOMMENDATIONS/ACTIONS |
| --- | --- | --- | --- | --- | --- |
| 1.1 1.2 1.3 1.4 1.5 1.6 1.7 1.8 1.9 1.10 1.11 1.12 1.13 1.14 1.15 1.16 1.17 | Are all chemicals date stamped on receipt? Are all bottles containing liquid chemicals stored on suitable shelving or in sectional crates? Are all Winchesters stored below shoulder height? Is the floor free from bottles, other than those in proper under bench positions (see also below)? Do all storage places for chemicals (rooms or cupboards) carry the appropriate safety/hazard warning signs? Are bottles stored in single rows? Are instructions displayed as to the procedure to be followed in case of spills or leaking taps on dispensers? Are the appropriate materials available to deal with spills? Is protective clothing and equipment provided for handling the chemicals and dealing with spills, [see Section 19.3.7]? Are eye wash bottles available or taps with suitable tube attached? Is an emergency shower available in the immediate area? Are bottle carriers available and used for Winchester bottles? Are carriers available and used for other bottles? Are incompatible chemicals stored or handled in such a way they could contact each other? (See partial list of some common mutually incompatible chemicals in Appendix III of the Safety Manual for UCC Chemical Laboratories by Dr. F.J. Lalor). Is ventilation provided to all areas where chemicals are stored? Is ventilation provided to chemical labs (either passive or forced ventilation)? Are write up areas separate to lab areas, to minimise unnecessary exposure to chemicals? |  |  |  |  |

| 2.0 | LABORATORIES | YES | NO | N/A | RECOMMENDATIONS/ACTIONS |
| --- | --- | --- | --- | --- | --- |
| 2.1 2.2 2.3 2.4 2.5 2.6 2.7 2.8 2.9 2.10 2.11 2.12 2.13 2.14 2.15 2.16 2.17 2.18 2.19 2.20 2.21 2.22 | Are flammable solvents only kept in reagent bottle quantities? If larger quantities are kept, are these necessary for daily use? Are all flammables kept in, and returned to a fire resistant flammable liquid storage cabinet when not in immediate use? Is the capacity of glass containers limited to 2¼ l ? Are all bottles, including reagent bottles, labelled with: - the name of contents - hazard label - are the labels free from damage caused by pouring, etc.? Is it forbidden to return re-used chemicals to the stock bottle? Are bottle tops held in the hand and not laid on the bench when pouring? Are less than 4.5 l of flammables with a flash point below 320C kept in the laboratory? Is the area fee from: - equipment that produces a flame? - from electric hot plates? - steam pipes if carbon disulphide is used? Where heating is required, is it provided by steam or water bath, except in the cases below? Is the use of regulated heating mantles limited to solutions with a boiling point of 800C or above? Are all the processes kept under constant attention? Are all items required for the process placed within reach before the procedure is started? Is the fire fighting equipment at hand during experiments? Is there only sufficient solvent (or other flammable solutions) in the area for immediate requirements? Where flammable liquids are kept on benches or shelves, is the maximum quantity of each per bench 500cm3? Are all excess solvents returned to store, or disposed of without delay? Are window sills and other areas around heat sources free from flammables? Are all flammables stored in a designated cabinet [see 2.3]? Are the doors of the cabinet or cupboard kept closed? Are flammable liquid storage cabinets away from corridors and through pathways that might be used in an emergency? Do all containers of flammable chemicals carry the appropriate hazard label? |  |  |  |  |

| 3.0 | TOXICS AND DRUGS | YES | NO | N/A | RECOMMENDATIONS/ACTIONS |
| --- | --- | --- | --- | --- | --- |
| 3.1 3.2 3.3 | Are all scheduled poisons and dangerous drugs kept in an adequate locked cupboard or room (see end of section)? Are the contents checked regularly and 'removals' weighed? Are all highly toxic substances kept under similar conditions? |  |  |  |  |
| Specification for safe cupboard/cabinet for storing toxic and drugs: - Constructed of steel not lighter than 16 gauge. - Clearance round door not greater than 3mm. - Two locks fitted to doors larger than 3'x18". - If two doors are fitted the second should be secured by two bolts. - Door lock should have at least 5 levers. - Appropriate hazard signs. - Bunded shelves |  |  |  |  |  |

| 4.0 | MAIN STORE | YES | NO | N/A | RECOMMENDATIONS/ACTIONS |
| --- | --- | --- | --- | --- | --- |
| 4.1 4.2 4.3 4.4 4.5 4.6 4.7 4.8 4.9 4.10 4.11 4.12 4.13 4.14 4.15 4.16 | Is the main chemical store situated away from the work area? Is the building ventilated? Is the store purpose-built/designed to minimise the dangers from fire or explosion? If acids are stored is the store designed so that it drains towards a corner away from the door? Are larger containers stored on a plinth 4-5cm high and not directly on the floor? Is the flooring of suitable material e.g. cement for acids, PVC for general chemicals? Are the shelves in good repair i.e. metal free from corrosion, wood not disintegrating? Are shelves colour coded or boldly labelled? Are the means for opening containers of solvents such that sparks will not be produced? Are safe means provided of handling and lifting boxes of chemicals? Where trolleys are used to move chemicals to or from the store, are these fitted with rails, etc to prevent materials falling off? Does the store include an externally operated fire extinguisher system? Is there a fire alarm point both inside and outside the store? Are there adequate and suitable hand-held extinguishers available? Are there adequate and suitable personal protective equipment available? Is the entrance to the main store bunded to contain spills/leaks? |  |  |  |  |

| 5.0 | CARCINOGENS | YES | NO | N/A | RECOMMENDATIONS/ACTIONS |
| --- | --- | --- | --- | --- | --- |
| 5.1 5.2 5.3 5.4 5.5 5.6 5.7 5.8 5.9 5.10 5.11 5.12 5.13 5.14 5.15 5.16 5.17 | Does the laboratory adopt a procedure whereby the use of 'new' chemicals is prohibited without the express permission of the dept. safety officer or other authorised persons? Is the laboratory free from carcinogenic substances listed in the current Safety, Health and Welfare at Work (Carcinogens) Regulations? If listed Category 1 or Category 2 carcinogens are used, is there a "Permit to Work" system in use? Are written instructions as to the use of each carcinogen, including the precautions to be followed, displayed in the room(s) where carcinogens are handled? Are the doors of all such rooms labelled with details of the hazards? Have all staff exposed to or handling carcinogens, been instructed in the procedures to be followed for the specific substance used. Is there a list of said persons? Are all such procedures supervised by a responsible named person? Are all the carcinogenic substances kept in containers clearly labelled with the name of the substance and hazards? Does the room where carcinogens are handled meet the standards of facilities required of a grade C radioactive laboratory? Are all carcinogens that may be absorbed by inhalation, including powders, dusts & crystals, always handled in a fume cupboard ? Where carcinogens are weighed, are such weightings carried out in a sealed weighing bottle and are all transfers from the container to bottle made in a fume cupboard? Chemical carcinogens storage in laboratories: Are only minimum quantities (sufficient only for immediate use) stored in the laboratory? Are all unused/surplus materials returned to an appropriate store when not in use? Are all carcinogens that may be absorbed by inhalation stored in fume cupboard set-aside for that purpose and labelled as such? If such an area exists, is it labelled with the appropriate hazard labels and instructions in case of an emergency? Storage: In Departmental Stores: Is there a separate store, or part of a store, set aside for the storage of carcinogens? If such an area exists, is it labelled with the appropriate hazard labels and instructions in case of emergency? |  |  |  |  |

| 5.0 | CARCINOGENS (cont.) | YES | NO | N/A | RECOMMENDATIONS/ACTIONS |  |
| --- | --- | --- | --- | --- | --- | --- |
| 5.18 5.19 5.20 5.21 5.22 5.23 5.24 | Are all carcinogenic substances stored so as to avoid risk, even in event of a foreseeable accident, e.g. breakage of staff inhaling, ingesting or otherwise absorbing any of the substance? Disposal of Carcinogens Are means available in the laboratory for the chemical destruction of the carcinogen after use? If not, is there a safe system of storage in labelled containers prior to disposal by an appropriate body? Personal Protective Equipment Is appropriate PPE & clothing available and used for carcinogens & is breathing apparatus/respirators available for use in an emergency? Staff [based on the current (Carcinogens) Regulations] Are all staff handling/exposed to carcinogens examined medically within six months of commencing such work? Are such staff re-examined at six-monthly/yearly intervals? Do such medical examinations include exfoliative cytology of urine? Is a cautionary card giving details of the carcinogenic substance used given to all the above staff on termination of their employment, or the cessation of their work with the substance? |  |  |  |  |  |

| 6.0 | Toxic, Harmful, Irritant or Respiratory sensitisers | YES | NO | N/A | RECOMMENDATIONS/ACTIONS |
| --- | --- | --- | --- | --- | --- |
| 6.1 6.2 6.3 6.4 6.5 6.6 6.7 | Is the laboratory free from any of the above chemicals? Has a Chemical Risk Assessment been carried out if they are used? Has the appropriate controls and safety procedures been implemented? Are the appropriate items of PPE provided for general use i.e. gloves, safety spectacles or visors, respirators with correct filters? Are precautions taken to prevent the inhalation of dusts and vapours? Is all work with volatile toxic and irritant substances carried out in a fume cupboard? Are all volatile toxic substances stored in a fume cupboard? |  |  |  |  |

| 6.0 | TOXIC, HARMFUL, IRRITANT OR RESPIRATORY SENSITISERS (cont.) | YES | NO | N/A | RECOMMENDATIONS/ACTIONS |
| --- | --- | --- | --- | --- | --- |
| 6.8 6.9 6.10 6.11 6.12 6.13 6.14 6.15 6.16 6.17 6.18 6.19 6.20 6.21 6.22 6.23 6.24 6.25 6.26 6.27 6.28 6.29 | Are all toxic substances kept under lock? Are measures taken to prevent contact of toxic chemicals with the skin, including: - use of gloves - use of glove box (where the use of a fume cupboard is inappropriate)? If a glove box is used, is it ventilated? Is the laboratory equipped to deal with spills (see also reactive chemicals)? Do all containers carry the appropriate EU hazard labels ? Use of Mercury in Laboratories: Are instructions displayed as to the specific procedures to be used in handling mercury? Is the bench where the mercury is used: - smooth and impervious? - sloping way from the operator? - fitted with a water trough at the lowest level? - fitted with a ledge at the front? If not, is the apparatus and all containers used, kept in a tray? Is a fume cupboard used or is there good room ventilation in the laboratory? Is the mercury carried only in small containers? Are the containers carried in a tray? Are all open surfaces of mercury covered with water? Does the operator use gloves? Is he/she aware of the danger of 'spitting'? Is a vacuum probe or other suction equipment available for clearing spillages? Is slaked lime/sulphur paste or commercial decontaminates readily available? Is mercury stored: - in airtight containers? - covered with water layer? Are storage containers in a tray? Is the storage cupboard away from heat or light? Is the temperature kept below 600F? Is used mercury put into a separate labelled container? If mercury is distilled in the laboratory is: - the system enclosed, - local exhaust ventilation provided, - the exhaust from vacuum pumps vented outside the workroom at a safe height (see fume cupboard checklist), Is the room regularly monitored for mercury vapour? |  |  |  |  |

| 6.0 | TOXIC, HARMFUL, IRRITANT OR RESPIRATORY SENSITISERS (cont.) | YES | NO | N/A | RECOMMENDATIONS/ACTION |
| --- | --- | --- | --- | --- | --- |
| 6.30 6.31 6.32 | Was the room under normal temperature/ ventilation conditions during monitoring with the temperature recorded? Has a medical check been carried out on workers in the last 2 years? Is breathing apparatus available in case of emergencies? |  |  |  |  |

| 7.0 | CORROSIVE and REACTIVE CHEMICALS | YES | NO | N/A | # RECOMMENDATIONS/ACTION |
| --- | --- | --- | --- | --- | --- |
| 7.1 7.2 7.3 7.4 7.5 7.6 7.7 7.8 7.9 7.10 7.11 7.12 7.13 7.14 7.15 7.16 | Is the laboratory free from the above chemicals, e.g. strong acids and bases, halogens, alkali metals etc.? Has a Chemical Risk Assessment been carried out if used? Has the appropriate controls and safety procedures been put in place? Are safety spectacles or visors always worn when handling these substances? Are such substances only used within reach of a plentiful supply of running water for treating anyone involved in an accident? Is a plumbed emergency eye wash readily available? Is there an emergency shower in the immediate area? Are safety carriers provided and used for: - Winchesters? - Reagent bottles? Are the appropriate items of protective clothing provided for general use and for dealing with spills (see PPE checklist): Gloves, safety spectacles or visors, aprons, rubber boots, respirators with appropriate filters? Are such chemicals destroyed or rendered safe before disposal? Additional points on the use of some of the above chemicals viz. Hydrogen Chloride Gas If this gas is used from cylinders are they stored in a fume cupboard? Are all such cylinders dated and returned to the supplier within 6 months? Is hydrogen chloride only used within a fume cupboard? Hydrogen Fluoride, Hydrofluoric Acid Are these substances used and stored in fume cupboards set aside for the purpose? Are they kept in, and used in, plastics (they react with glass)? Are instructions displayed to this effect? |  |  |  |  |

| 7.0 | CORROSIVE and REACTIVE CHEMICALS (cont.) | YES | NO | N/A | RECOMMENDATIONS/ACTIONS |
| --- | --- | --- | --- | --- | --- |
| 7.17 7.18 7.19 7.20 7.21 7.22 7.23 7.24 7.25 7.26 7.27 7.28 7.29 7.30 7.31 7.32 7.33 7.34 | Nitric Acid Is a fume cupboard used for all reactions with concentrated nitric acid? Nitric Acid Cleaning Mixtures Is the use of these mixtures prohibited? Perchloric Acid Are safety instructions on the use of this acid displayed wherever it is used or stored? Is the use or storage of this acid on wooden benches prohibited? Is the acid used in a designated fume cupboard? If Perchloric acid is used on wooden benches, are metal trays provided? Are sand-filled metal trays or 'Safe packs' used for storage? Where Perchloric acid is used in fume cupboards, are they fitted with sprinklers for washing the surfaces, etc (in accordance with BS 3202)? Sodium Is this stored under clean paraffin or hydrocarbon oil in glass or stoneware jars? Is a separate bench clear of water provided for: - storing - cutting or pressing Sodium Presses. Are these cleaned by immersion in methylated spirits after use? If sodium is used as a drying agent in bottles, are all bottles containing Sodium labelled? Are suitable fire extinguishers available to deal with burning metal, e.g. 'ternary eutectic chloride' dry powder? Is a sand basket available labelled for use on 'metal fires', e.g. 'sodium fires'? Potassium (metallic) Is this kept under similar conditions to sodium (see above)? Are all potassium containers dated and old stock (especially of yellow) disposed of? Phosphorus Is white phosphorus kept under water in a glass container? Is it cut under water in a flat-bottomed dish? Are all white phosphorus residues and waste prices collected and burnt outside the building? |  |  |  |  |

| 8.0 | UNSTABLE CHEMICALS | YES | ## NO | N/A | RECOMMENDATIONS/ACTIONS |
| --- | --- | --- | --- | --- | --- |
| 8.1 8.2 8.3 8.4 8.5 8.6 8.7 8.8 | Is the laboratory free from unstable chemicals (instability should be indicated on labels)? Has a Chemical Risk Assessment been carried out if they are used? Has the appropriate controls and safe procedures been implemented? Are the quantities of such chemicals in the laboratory kept to a minimum required for daily use? Are all other stocks kept in a properly designed store away from the work area? Where unstable chemicals are used, are precautions taken against possible violent reactions including the use of: - safety screens? - dilute reagents and small scale preliminary experiments? - precise procedural sheets detailing purity and proportions of chemicals, agitation and heating rates etc? - direct supervision of all work by a qualified member of staff? Are all unstable substances rendered safe prior to disposal? Peroxidisable compounds - are these tested for the presence of peroxide before use of any procedure involving concentration or distillation? |  |  |  |  |

| 9.0 | Chemicals that may react violently with, or liberate a hazardous gas from water | YES | NO | N/A | RECOMMENDATIONS/ACTIONS |
| --- | --- | --- | --- | --- | --- |
| 9.1 9.2 9.3 9.4 9.5 | Is the laboratory free from the above * See reactive chemical? Has a Chemical Risk Assessment been carried out if they are used? Has the appropriate controls and safe procedures been implemented? Are the above, and other chemicals that react with water: - stored in such a way that they could not accidentally contact water, e.g. clear of sinks, water baths, etc? - used in similar conditions? Is the storage cabinet/shelf clearly labelled as to the nature of the potential hazard in such a way that the hazard can be clearly understood in an emergency? |  |  |  |  |

| 10.0 | OXIDERS | YES | NO | N/A | RECOMMENDATIONS/ACTIONS |
| --- | --- | --- | --- | --- | --- |
| 10.1 10.2 10.3 10.4 10.5 | Is the laboratory free from the above? Has a Chemical Risk Assessment been carried out if they are used? Has the appropriate controls and safe procedures been implemented? Are all bottles, containers of the above labelled with the appropriate EU hazard warning? Are they used in such a manner that accidental contact with combustibles cannot occur? |  |  |  |  |

| 11.0 | DISPOSAL OF CHEMICALS | YES | NO | N/A | RECOMMENDATIONS/ACTIONS |
| --- | --- | --- | --- | --- | --- |
| 11.1 11.2 11.3 11.4 11.5 11.6 11.7 11.8 11.9 11.10 | Does the disposal of chemicals or chemical waste meet current local & national statutory Waste Management Regulations)? Are the approved procedures for the disposal of the chemicals used within the building displayed on the safety notice board? Have the persons responsible for each laboratory been issued with a copy of the above procedure? Are instructions displayed for washing-up staff handling bottles, etc that have contained hazardous substances, e.g. sodium or sodium peroxide? Are all harmful substances made safe before disposal via the public system? Are all substances that remain hazardous disposed of via an organised chemical waste system? Are all substances awaiting disposal correctly labelled and stored in the correct manner rather than being "random bulked"? Are liquids immiscible with water and flammable liquids disposed of by a procedure other than the use of sinks and drains? Are aqueous solutions of inorganic and organic solutions disposed of by the drainage system neutralised before disposal? Are all solutions of cyanides and chromate’s chemically treated prior to disposal or collected as chemical waste? |  |  |  |  |