- Please retain this form within the department/section when completed.

- This assessment must be carried out by the relevant Department/Section Head (or their nominee).

- This checklist will help identify hazards and enable subsequent Risk Assessments to be completed where hazards cannot be eliminated. [See Section  19.1 - 19.5].

Room/Location: ______________________ No. of Employees/Students/Others Involved: ___________ Type of Meeting: _____________________________________ Frequency: ________________________ Assessed By: _____________________________________________________ Date: _______________

| 1.0 | ACCESS AND EGRESS | YES | NO | N/A | RECOMMENDATIONS/ACTIONS |
| --- | --- | --- | --- | --- | --- |
| 1.1 1.2 1.3 1.4 1.5 1.6 1.7 2.0 2.1 2.2 2.3 2.4 2.5 3.0 3.1 3.2 3.3 | Prior to meetings, lectures etc., are all exits unlocked, checked and available? Are all corridors, routes and exit ways free of obstruction including tables& display stands? Are all lighting points working properly i.e. - General lighting? - safety lighting - Exit signs? Is everyone seated before start of lecture/ meeting? Are all satchels, personal items removed from exits, passageways? Before the start of each lecture, meeting etc., is announcement given of: - Exit doors? - Event of fire alarm? - Evacuation and assembly procedures? Are excess students, including persons standing, removed to prevent overcrowding? ## GENERAL Are fire notices displayed prominently? Are broken or damaged seating reported and repaired? Are trailing leads taped down or protected to prevent accidents? Is standing on chairs/benches prohibited? Is housekeeping and cleanliness adequate? # CLOSE SEATED AUDIENCES Are loose chairs clipped securely together in groups of 5, when arranged in rows (conferring/auditorium format)? Where a gangway is provided at one end of a row of seats, is there a maximum of 12 seats in the row and a clear minimum distance of 500mm between rows of seats? (300mm for 7 seats) Where a gang way is provided at both ends of a row of seats, is there a maximum of 30 seats and a clear minimum distance of 500mm between rows of seats? (300mm for 14 seats) |  |  |  |  |

N.B.  See also SECTION 18.9.0 in Document No.2 for Requirements.