## Work Area Assessment Master
SCHOOL/DEPARTMENT SAFETY STATEMENT
Document # | No 3 | Hazard Identification and Risk Assessment
Section #: | 19.3.1 | Title: General Workplace/Room Safety Checklist
Rev #: 2 | July 2020 | This assessment must be carried out by the relevant Department/Section Head (or their nominee). This checklist will help identify hazards in offices and if they are generally in control/a low risk (YES answers). NO answers will indicate subsequent Risk Assessments that may need be completed if the hazards cannot be eliminated or are not well controlled. [See also Section 19.1 - 19.5]. Note: Before commencing please make a copy of this blank form to a separate sheet and then complete the form there copy. On completion retain the form/sheet within the excel file department/section. Then update the separate admin overview sheet provided
Room # or name:
Floor
Building name
Location address
School/Dept:
Assessed by
Date:
Assessment reference ID #
1 |  | Work room layout and physical characteristics | Yes/NO or N/A [please select] | Comments, Actions or Recommendations (NB: Enter an action wherever a NO answer is selected in column D. This may include conducting a more in-depth RA using the risk nomogram in 19.8/9 or via another RA method)
| 1.01 | Is the room layout and design satisfactory?
| 1.02 | Are desks/chairs appropriate and well situated for users?
| 1.03 | Are desks/chairs and access/egress thereto well separated ?
| 1.04 | Are desks/chairs and desking in good condition?
| 1.05 | Are floors and stairways structurally safe and sound and possess a good non slip surface or one with a high slip resistance?
| 1.06 | Are access and egress routes sufficiently wide/ adequate and well defined?
| 1.07 | Is floor space adequate for the activity/activities (i.e. at least 4.5m2/person for an office)?
| 1.08 | Are storage areas adequate and accessible?
| 1.09 | Are storage shelving units fixed securely to walls, suitable for that being stored and accessible?
| 1.1 | Are storage filing systems accessible and stable, including restrained from overturning as necessary?
| 1.11 | Are storage filing systems situated so that when they are in use, they do not block or adversely reduce emergency egress or safe access and egress widths on passageways for other persons?
| 1.12 | Are rest rooms equipped with adequate chairs and tables and are they sufficiently spaced?
| 1.13 | Are transparent doors appropriately marked at a conspicuous level?
| 1.14 | Are swing doors or cross corridor doors provided with see through vision panels?
| 1.15 | Does glazing in full height doors or screens or walls meet safety-glazing standards?
| 1.16 | Are barriers installed to prevent persons leaning up against low level windows or glazed screens (where glazing may not be able to withstand such applied loading)?
| 1.17 | Are persons able to open, close, adjust or secure windows and skylights easily i.e. are they easily accessible and safe to manipulate without risk of falling or other injuries?
| 1.18 | Is there a safe means provided for the easy opening and closing of windows situated over desks or openable high level louvres or skylights (using poles or winders or mech/elec controls)?
| 1.19 | Is it possible to safely open or close glazed windows without excessive force or a risk of window being blown inwards or outwards (with either the glazing or a heavy frame shattering/falling out onto persons below or nearby, either externally or internally)?
| 1.2 | Is it possible to clean windows without risk to persons present in the building or area (or without a cleaner falling out through an unprotected opening)?
| 1.21 | Are there windows or glazed systems that need to be cleaned without persons present in the building or area?
| 1.22 | Are the floors and rooms at building entry level universally accessible by impaired persons?
| 1.23 | Are the other floors and rooms universally accessible by impaired persons? (E.g. those areas situated above or beneath the building entry level)
| 1.24 | Are the following organised to take account of persons with impairments or special needs: 1. Doors 2. Passageways and staircases 3. Showers, washbasins and lavatories 4. Workstations 5. Traffic routes
| 1.25 | Are the sides of stairways, landings and raised platforms or balconies protected by balustrades to prevent a person falling off or over at the edge (a sufficient height is at least 1.1m in height above steps or any adjacent fixtures) ?
| 1.26 | Stairways, ramps, external steps and paths are safe to use, are not slippery, are kept free of moss and are not overly steep?
| 1.27 | Ramps and gradients are not overly steep and are suitable for safe use by wheelchair users or use of wheeled hand carts?
| 1.28 | Pedestrian traffic routes are separated from vehicular routes and designated walking and crossing points are provided/ clearly indicated
| 1.29 | Floors, walkways and ramps are non slip or have a high slip resistance and the area is free of condensation or the ingress of water?
| 1.3 | Continuous hand rails are provided to steps/stairways?
| 1.31 | Premises with winding steps or limestone steps or steep stairways are provided with additional, continuous, hand rails?
| 1.32 | Absorbent mats or heavy duty carpet are provided to the entrances of areas that have tiles or linoleum? (Including highly trafficked pedestrian footfall areas that may otherwise have good slip resistance surfaces)
2 |  | Work space environment | Yes/NO or NA (please select) | Comments, Actions or Recommendations (NB: Enter an action wherever a NO answer is selected. This may include conducting a more in-depth RA using the risk nomogram in 19.8/9 or via another RA method)
| 2.01 | Is ventilation adequate throughout the year?
| 2.02 | Are temperatures comfortable (min. 17.5 deg C) throughout the year and within an hour of commencement each day?
| 2.03 | Can excessive sunlight be regulated by means of blinds etc.?
| 2.04 | Is workroom free from draughts and external fumes?
| 2.05 | Is there sufficient natural light for the tasks?
| 2.06 | Is there sufficient artificial light for the tasks?
| 2.07 | Has each work room sufficient height and airspace (i.e. 2.4 to 3m)
| 2.08 | Are indoor spaces protected against the ingress of fumes or odours e.g. tobacco smoke from smoking areas or exhaust emissions from vehicles or appliances or boilers etc?
| 2.09 | Is smoking and vaping prohibited indoors?
| 2.1 | Are work rooms equipped with adequate ventilation or a means of naturally ventilating the space for both heat build up or mal- odours?
| 2.11 | Is a designated communal space provided for use of toasters, sandwich makers or boiling kettles and fitted with a heat detector and means of ventilating odours?
| 2.12 | Is a designated communal room provided for medium to high volume photocopying and provided with, adjacent, local ventilation windows or forced high and low level extract as a means of ventilating ozone, heat and odours?
| 2.13 | Are legionella management controls in operation on premises HVAC systems and hot/cold water supply systems, and air conditioning systems and on emergency showers and water fountains or other closed water circuits such as dental chairs?
3 |  | Work space housekeeping | Yes/NO or NA (please select) | Comments, Actions or Recommendations (NB: Enter an action wherever a NO answer is selected. This may include conducting a more in-depth RA using the risk nomogram in 19.8/9 or via another RA method)
| 3.01 | Is the standard of cleanliness satisfactory throughout? (Walls, floors, ceilings)
| 3.02 | Are waste materials removed on a daily basis?
| 3.03 | Are periodic housekeeping audits/checks carried out?
| 3.04 | Are aisles or exits kept free of trailing leads or cables?
| 3.05 | Are aisles or exits kept free of obstruction?
| 3.06 | Are floor coverings free from tears or raised lips/edges?
| 3.07 | Are materials/stationery stored at safe heights?
| 3.08 | Are filing cabinets kept closed when not in use?
| 3.09 | Is the area free of dust, mould or damp?
| 3.1 | Is the work space cleaned frequently?
4 |  | CHEMICALS (OFFICE TYPES) | Yes/NO or NA | Comments, Actions or Recommendations (NB: Enter an action wherever a NO answer is selected. This may include conducting a more in-depth RA using the risk nomogram in 19.8/9 or via another RA method)
| 4.01 | Have safe practices been adopted to minimise exposure from hazardous vapours, gases, dusts from the following: inks, correction fluids, adhesives, cleaning agents, toners (from photocopiers/printers), ozone (from photocopier)
| 4.02 | Are flammable liquids, solvents, adhesives and any high alcohol content hand sanitising gels stored according to manufacturer’s safety data sheet recommendations and are they used safely in a well ventilated area and kept away from sources of ignition?
5 |  | WELFARE AND HEALTH | Yes/NO or NA (please select) | Comments, Actions or Recommendations (NB: Enter an action wherever a NO answer is selected. This may include conducting a more in-depth RA using the risk nomogram in 19.8/9 or via another RA method)
| 5.01 | Are Toilets and rest rooms with temperature controlled hot running water and wash basins (either communal gender specific/ gender neutral or lockable gender neutral shared facilities or for impaired person) provided conveniently nearby workstations and are adequate in quantity and cleanliness?
| 5.02 | Are potable drinking water facilities provided conveniently nearby and kept in a hygienic state?
| 5.03 | Are facilities for local tea making and the taking of meals provided conveniently nearby work areas and not necessitate the purchase of food or beverages?
| 5.04 | Are facilities for the taking of meals and the storage of food hygienic and separate to work areas and rest rooms?
| 5.05 | Are first aid treatment facilities/an equipped first aid room available nearby?
| 5.06 | Are first aid boxes available and appropriately stocked at a first aid station nearby?
| 5.07 | Are facilities provided nearby where a pregnant woman or nursing mother may rest and lie down?
| 5.08 | Do satisfactory hygiene conditions exist in shower areas, rest rooms and changing facilities?
| 5.09 | Are changing rooms provided for employees if they have to wear separate work wear?
| 5.1 | Do satisfactory hygiene conditions and lockers exist in changing facilities for the storage of personal clothing and reusable clean workwear or decontaminated PPE?
| 5.11 | Where changing rooms are provided are they easily accessible with sufficient capacity and suitability for changing by all genders and age groups (lockable for single use if communal) with seating and hot running water and showering/decontamination measures as necessary for the risk and measures to avoid any cross contamination between contaminated/ non contaminated work wear and personal non-work wear clothing.
| 5.12 | Are there separate changing and or shower rooms for men and women or is there provision for gender neutral separate use?
6 |  | Covid-19 Public health pandemic measures | Yes/NO or NA (please select) | Comments, Actions or Recommendations (NB: Enter actions whenever a NO answer is selected)
| 6.01 | Are work rooms equipped with adequate ventilation or a means of naturally ventilating the space for Covid-19 particulates (public health)?
| 6.02 | Are first aid stations equipped with an sterile/clean Covid-19 first aider OFA response kit for infection prevention?
| 6.03 | Are work rooms, work stations and rest rooms sufficiently spaced for Covid-19?
| 6.04 | Is the work space cleaned frequently/twice daily per Covid-19 public health criteria?
N.B. See also Section 18 for guidance on controls
| Item ref # | Summary of actions now arising from the above (in particular relating to any NO answers given in the assessment) | Timeframe - immediate or 3, 6, 12 months? Please select | Action assigned to: Please enter | Status - open or closed out (please select)

## Assessment Admin Records
Work area/rooms OHS assessment admin overview
Functional Area [enter reference name in next column] |  | Head of Function (HoF) [enter name in next column]
School/ Business Units [list in the column beneath] | Head of School/Business Unit (HoS) [please enter name in the column beneath] | Constituent Depts/Disciplines in the Schools [list beneath - by associated School/Unit] | Head of Department/Discipline (HoD) [enter name in the column beneath] | PI, Academic director or operational line managers with local control over listed places of work where staff undertake activities [enter names in column below] | Job title [enter in the column beneath] | What work areas/rooms are under their direct control? [enter details in the column beneath] | This room/area has been assessed using the form in master sheet? [please enter Y/N in the column below] | Assessed by: [please enter name in the column beneath] | Date of assessment: [enter in the column beneath] | Corrective action/additional risk controls required? [Please select enter Y/N in cells beneath] | Next Assessment date [enter date in the cells beneath] | Building Location ref for this room/work area: [enter in the column beneath] | Floor/Area location for this room/work area: [enter in the column beneath] | Assessment ID reference # assigned [self select by dept]