- Please retain this form within the department/section when completed.

- This assessment must be carried out by the relevant Department/Section Head (or their nominee).

- This checklist will help identify hazards and enable subsequent Risk Assessments to be completed where hazards cannot be eliminated. [See Section 19.1 - 19.5].

- See also SECTION 18.2.0 FIRE & other Emergencies in Document 2 for requirements

Room/Location: ______________________ Employee Involved: ________________________________ Assessed By: _____________________________________________________ Date: _________________

| 1.0 | TRAINING AND INFORMATION | YES | NO | N/A | # RECOMMENDATIONS/ACTIONS |
| --- | --- | --- | --- | --- | --- |
| 1.1 | Are all staff and students familiar with what to do in an emergency e.g. Fire, explosion, gas leak, lift failure etc.? |  |  |  |  |
| 1.2 | Have all staff been trained in basic fire safety:- - housekeeping - use of flammable liquids, gases or solids - electrical appliances - fire extinguisher selection and use - what to do on hearing fire alarm - what to do on discovering fire - what to do if ones clothing is on fire |  |  |  |  |
| 1.3 | Do they know where the fire alarm is, and how to use it? |  |  |  |  |
| 1.4 | Are there trained Fire Marshalls/First Aid Responders and trained Chemical Spill Responders ( where relevant) in the Department, with nominated deputies or is there pre-agreed cover from adjacent areas? |  |  |  |  |

|  | 2.0 |  | EMERGENCY PROCEDURES | YES | NO | N/A | # RECOMMENDATIONS/ACTIONS |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 2.1 |  | Is there an appropriate department emergency plan in operation and does this include for major events organised by the School/Department? |  |  |  |  |  |
|  | 2.2 |  | Does it cover the following: - Fire drills and training - Safe evacuating procedures to assembly or refuge points including Personal Emergency Evacuation Plans for impaired persons and evacuation triage and sheltering in place where relevant and non-use of lifts - Designated assembly points and control of personnel until the all clear is given by Security/the Fire Brigade - Emergency numbers and whom to contact - Premises Eircodes - Emergency lighting - Clearly sign posted exit routes, fire fighting equipment and first aid equipment and chemical spill response equipment ( where relevant) - Response outside normal working hours - Provisions for persons with impaired vision, hearing or mobility - Ensuring that equipment, machines are shut off to leave workplace safe - Chemical spills - Warning personnel in adjacent areas of potential hazards to their safety - Hazard and risk information for the fire services including chemical inventories and key risks . |  |  |  |  |  |
|  | 2.3 |  | Is the Emergency Plan tested regularly Yearly? |  |  |  |  |  |
|  | 2.4 |  | During the emergency test, are shortcomings: - Recorded by the Department? - Reviewed and corrected? |  |  |  |  |  |
| 3.0 |  | GENERAL |  | YES | NO | N/A |  | # RECOMMENDATIONS/ACTIONS |
| 3.1 |  | Are the "No-Smoking" Regulations strictly enforced? |  |  |  |  |  |  |
| 3.2 |  | Are fire doors kept closed outside normal working hours? |  |  |  |  |  |  |
| 3.3 |  | Is portable fire fighting equipment, firest aid kits and chemical spill response kits available and maintained? |  |  |  |  |  |  |
| 3.4 |  | Are escape routes, corridors etc. kept clear at all times of storage, furnishings, combustible materials, rubbish, recycling materials, bicycles, motorized apparatus and sources of ignition including electrical equipment ? |  |  |  |  |  |  |
| 3.5 |  | Are escape routes of adequate width and number? |  |  |  |  |  |  |
| 3.6 |  | Are combustible or other wastes removed daily? |  |  |  |  |  |  |
| 3.7 |  | Are there routine checks carried out on: - Fire alarm systems? - Emergency lighting and exits? - Fire fighting equipment? - Emergency equipment? - Safety signs? - First Aid boxes? |  |  |  |  |  |  |
| 3.8 |  | Are these recorded and reviewed by the Department? |  |  |  |  |  |  |
| 3.9 |  | Are Fire notices posted in prominent positions throughout the Department? |  |  |  |  |  |  |
| 3.10 |  | Are there sufficient smoke/heat fire detection units audible alarm bells and measures for the hearing impaired? |  |  |  |  |  |  |
| 3.11 |  | Are there sufficient fire alarm break glass units? |  |  |  |  |  |  |
| 3.12 |  | Is fire-fighting equipment clearly sign posted? |  |  |  |  |  |  |
| 3.13 |  | Can the emergency exit doors be easily and quickly opened? |  |  |  |  |  |  |
| 3.14 |  | Is a fire blanket available and accessible in kitchens/canteens? |  |  |  |  |  |  |
| 3.15 |  | Is the external fire assembly point signposted and visible? |  |  |  |  |  |  |
| 3.16 |  | Are all doors on escape routes easily openable from the inside without the use of a key and in the case of electromagnetic locks openable on mechanical activation of a door lock lever arm or push bar device? |  |  |  |  |  |  |
| 3.17 |  | Are metal bins with self closing lids used for rubbish collection within corridors, laboratories, work shops, lecture theatres and large rooms? |  |  |  |  |  |  |

| 4.0 | LABORATORIES / workshops (in addition to above) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 4.1 | Is there a central location for storage of emergency equipment viz. - Self contained breathing apparatus? - Salvage gear, tools, lamps, chemical spill response equipment? - blankets for covering injured persons - Stretchers? - First aid for unusual situations e.g. cyanide exposure, hydrofluoric acid? |  |  |  |  |
| 4.2 | Is PPE available for emergencies (goggles, facemasks, aprons, respirators, explosion shields, etc.)? |  |  |  |  |
| 4.3 | Is there an emergency phone in the lift and can this communicate with UCC security |  |  |  |  |
| 4.4 | Does the chemical spill procedures include: - Containment controls? - Clean-up measures? - Reporting provisions? - Prevention methods i.e. personnel training, inspection, monitoring, storage. |  |  |  |  |
| 4.5 | Is all hazardous laboratory work stopped during severe weather or loss of utility services e.g. water, electricity, gas supplies etc.? |  |  |  |  |
| 4.6 | Are the fire extinguishers appropriate to the various risks within the laboratory/workshop? |  |  |  |  |
| 4.7 | Is an appropriate chemical spill kit provided in the laboratory or nearby? |  |  |  |  |
| 4.8 | Is there a gas detection system with slam shut devices to the supply fitted for all gas supplies to the room/area? |  |  |  |  |
| 4.9 | Is there a gas proving system fitted to the natural gas supply where provided? |  |  |  |  |
| 4.10 | Is hydrogen generation technology used instead of piped gas cylinder supply? |  |  |  |  |
| 4.11 | Are all compressed gas cylinders located external to the building and the supply piped in to the point of use incorporating 4.9 |  |  |  |  |
| 4.12 | Is an easily accessible emergency power off switch provided and located conveniently to shut down the electrical supply in an emergency? |  |  |  |  |
| 4.13 4.14 | Are flammable liquids stored in bunded fire rated cabinets within the room? Do first aid responders have a personal issue emergency response kit for Covid19 and is there one located adjacent to the first aid box/boxes with spares available ( for replacement after use) |  |  |  |  |

- Please retain this form within the department/section when completed.

- This assessment must be carried out by the relevant Department/Section Head (or their nominee).

- This checklist will help identify hazards and enable subsequent Risk Assessments to be completed where hazards cannot be eliminated. [See Section  19.1 - 19.5].

- See also SECTION 18.2.0 FIRE & other Emergencies in Document 2 for requirements